Follow this link to download the reference documents:

<https://www.dropbox.com/sh/m7yt37elb46sfjb/AAACNvkbTZR1_Oyjqow3vT-7a?dl=0>

Included in the documents:

* Shop drawings for the new seating in Flowers Hall
* Structural drawings for Flowers Hall
* Exterior elevation and 3D rendering of the new West End Hospitality Suite

Questions received for Flowers Hall Video Boards:

1. Lift provided by owner or contractor? If provided, type, i.e. boom, cherry, scissor, etc.

**UNA is able to provide a Haulotte 4527A trailer mounted boom lift. This lift has a platform height of 45’ with a maximum lift capacity of 500lb.**

1. Lift use capable on floor, balcony, and/or both

**The lift is able to be brought in on the main floor (basketball court) level only.**

1. Do you want to see demo of 3.9mm pitch on site?  Have recent install of 4.9mm pitch Aurora wall within 10 minutes if you would like to view.

**As we review all the bid proposals, we will have some follow up questions and may want to demo a board at that time.**

1. Do you want to include any extra panels or modules

**We are looking for two video boards. Additional panels or modules are not required, but may be included as a separate item in your proposal if desired.**

1. Would like to review the 18’ width between bleachers, wow looks very tight?

**We have concluded that the 2 video boards will be installed at the west end of the court in lieu of the corner positions. Your proposal should include mounting to the roof structural steel members (hanging). UNA will provide necessary structural modifications (designed per structural engineer) to support your boards.**

1. If we don’t disrupt teams using the gym, will you allow us to install the system during volleyball season to meet the November 1 installation deadline? **Yes, ideally we would like install before November 1 if possible (mid-August).**
2. Is a performance bond going to be required with this project? (That cost will be passed along to the University and many schools don’t need a bond for this type of purchase.)

**Yes, a performance bond is required for this project.**

1. Would you like game clocks or game-time information displayed in special areas like locker rooms, concession areas or a referee room?

**Yes, our current scoreboards provide clock information to Men and Women’s Basketball locker rooms. We wish to continue this capability.**

1. Is UNA looking to expand the live broadcast capabilities beyond the ESPN production? If so, do you know how? **Not at this time.**

1. The bid proposal outlines the pitch of the LED Scoreboard but does not have quality specifications on the type of LED that need to be used (it was discussed in the meeting and there was thoughts that it was in the package but I do not see it upon review).  There is a wide spectrum of quality in the LED field that directly affect the quality of the video and scorers tables.   Will there be a specification assigned to insure you get the highest quality? **We do not have a specification for the type of LED. We would like for you to propose a mid-grade quality LED.**

1. Can we receive the drawing of the new west side with dimensions of height and width

**This is currently under design and an exterior elevation has been provided along with a 3D rendering in the reference documents. Please note that the architect rendered 10’H x 20’W boards to evenly fit between the 20’ beam spacing in the structure above. If the proposed boards are smaller (in width) and a structural cross member is required, UNA will provide the necessary structural support to mount.**